UJI KINERJA TERMOKOPEL Ni-Al DAN Al-Ni DITINJAU DARI GGL (GAYA GERAK LISTRIK) SEEBECK
Oleh:

Titik Widoretno
NIM 11306141013
ABSTRAK

Tujuan dari penelitian ini adalah (1) mengetahui kinerja termokopel Ni-Al dan Al-Ni jika ditinjau dari ggl Seebeck dan (2) menentukan jenis sambungan logam manakah di antara Ni-Al dan Al-Ni yang baik digunakan sebagai termokopel.
Penelitian ini dimulai dengan menyambungkan Nikel dan Aluminium menjadi 2 junction yaitu sambungan Ni-Al dan sambungan Al-Ni. Ujung-ujung sambungan tersebut dimasukkan ke dalam cairan yang bersuhu tinggi dan bersuhu rendah, kemudian selisih suhu antara kedua ujung diukur menggunakan termometer serta nilai tegangan diukur menggunakan voltmeter. Data yang diperoleh berupa selisih suhu dan tegangan yang dihasilkan dianalisis dengan menggunakan Origin 6.1.
Hasil penelitian  menunjukkan bahwa (1) nilai tetapan Seebeck untuk sambungan Ni-Al (14,5 ± 0,03) µV/oC dan untuk sambungan Al-Ni adalah (12,2  ± 0,03) µV/oC dan (2) nilai tegangan termoelektrik sambungan Ni-Al lebih baik dari pada sambungan Al-Ni
Kata Kunci: sambungan, tegangan, tetapan Seebeck, dan GGL
PERFORMANCE TEST THERMOCOUPLE NI-AL AND AL-NI VIEWED FROM EMF (ELECTROMOTIVE FORCE) SEEBECK
by:

Titik Widoretno

NIM 11306141013

ABSTRACT

The purpose of this study is  (1) Find the value of Seebeck constant for junction Ni-Al and Al-Ni and (2) determine which type of metal junction between Ni -Al and Al-Ni is used as a thermocouple.
This study begins by connecting Nickel and Aluminium into 2 junction is junction of Ni-Al and Al-Ni junction. The ends of the junction is inserted into the liquid cold temperatures and high low temperature, then the temperature difference between the two ends is calculated and the value of the voltage that appears on the voltmeter. Data obtained in the form of the difference in temperature and the resulting Voltage analyzed using Origin 6.1.

The results showed that (1) the value of Seebeck constant for junction Ni-Al (14,5  ± 0,03) µV/ oC and for the junction of Al-Ni is (12,2 ± 0,03) µV/ oC and  (2) based on the value of the thermoelectric voltage is generated, junction Ni-Al better than the junction of Al-Ni

Keyword: junction, voltage, Seebeck constant, and Emf
