The Determination of Rare Soil Metals in Thorium Concentrate
Using Emission Spectrograph Method
By:

Essye Dwiwahyu Ratnasari
04307144001
First consultant
: Aryadi, S.T
Second consultant
: I Made Sukarna, M.Si
ABSTRACT
This study aims at determining the optimum condition of excitation periods, currents, and electrode distances in the determination of rare soil metals of cerium (Cc), lanthanum (La), yttrium (Y), and neodymium (Nd) in the thorium concentrate of monazite sand processing results using Emission Spectrograph method and determining concentrations of rare soil metals of cerium (Cc), lanthanum (La), yttrium (Y), and neodymium (Nd) in the thorium concentrate of monazite sand processing results with optimum operation conditions.
The research subject was the thorium concentrate of monazite soil proccessing results. The research object was the determination of rare soil metals (Y, La, Cc, and Nd) in the thorium concentrate. Qualitative and quantitative analyses were done using industrial spec synteshis standards. The sample analysis was done in the form of solution concentrated into pure graphite electrodes by using Emission Spectrograph as the analysis tool and Spark-Arc as the excitation source. This study was begun by determining the optimum operation condition by variation of times: 5, 10, 15, 20, 25, 30, 35 seconds; variation of currents: 6, 7, 8, 9, 10, 11 Ampere; and electrode distances of l, 2, 3, 4, 5 mm.  

The research results showed that the optimum condition of the excitation time was 35 seconds, the optimum condition of the current was 10 ampere, and the optimum condition of the electrode distance was 5 mm. The results of the element anlyses of Y, La, Cc, and Nd in Sample 1, 2, and 3 were Y = (7633,99 f 699,27) pg/mL, (7630,06 ± 165,56) pg/mL, and (6932,03 ± 165,52) yg/mL; La = (1696,08 ± 242,31) yg/mL, (1624,32 ± 99,29) pg/mL, and (1599,22 ± 169,21) pg/mL; Cc = (11375,57 f 295,91) pghnL, (11390,87 ± 769,80) pg/mL, and (8806,39 ± 236,72) pg/mL; and Nd = (8369,53 ± 600,86) Itg/mL, (8387,88 f 244,48) pg/ml, and (7000,00 ± 332,20) pg/ml.

Key words : thorium concentrate, Emission Spectograph, rare soil metals
PENENTUAN LOGAM TANAH JARANG DI DALAM KONSENTRAT TORIUM DENGAN METODE SEKTROGRAFI EMISI

Oleh:

Essye Dwiwahyu Ratnasari
04307144001
Pembimbing Utama

: Aryadi, ST
Pembimbing Pendamping 
: I Made Sukarna, M.Si
ABSTRAK

Tujuan dari penelitian ini adalah untuk mengetahui kondisi optimum waktu eksitasi, kuat arus, dan jarak elektroda pada penentuan logam tanah jarang serium (Cc), lantanum (La), itrium (Y), dan neodimium (Nd) di dalam konsentrat torium hasil olahan pasir monasit dengan metode spektrografi emisi, serta mengetahui besar konsentrasi logam tanah jarang serium (Cc), lantanum (La), itrium (Y), dan neodimiun (Nd) di dalam konsentrat torium hasil olahan pasir monasit. dengan kondisi operasi yang optimum.

Subjek penelitian dalam penelitian ini adalah konsentrat torium hasil olahan pasir monasit. Objek penelitian ini adalah penentuan logarn tanah jarang (Y, La, Cc, dan Nd) dalam konsentrat torium. Analisis kualitatif dan kuantitatif dilakukan dengan menggunakan standar sintetis spex industri. Analisis sampel dilakukan dalam bentuk larutan yang dipekatkan di atas elektroda grafit murni dengan menggunakan alat analisis spektrografi emisi dan spark-Arc sebagai sumber eksitasi. Penelitian ini diawali dengan menentukan kondisi optimum operasi dengan cara variasi waktu: 5, 10, 15, 20, 25, 30, 35 detik, variasi kuat arus: 6, 7, 8, 9, 10, 1 1 amper dan jarak elektroda: l, 2, 3, 4, 5 mm.

Hasil Penelitian menunjukkan bahwa kondisi optimum waktu eksitasi adalah 35 detik, kuat arus diperoleh 10 amper dan jarak elektroda adalah 5 mm. Hasil analisis unsur Y, La, Cc, dan Nd dalam sampel l, 2, dan 3 berturut-turut adalah Y = (7633,99 f 699,27) pg/mI,; (7630,06 ± 165,56) pg/mL dan (6932,03 ± 165,52) yg/mL; La = (1696,08 ± 242,31) yg/mL; (1624,32 ± 99,29) pg/mL dan (1599,22 ± 169,21) pg/mL; Cc = (11375,57 f 295,91) pghnL; (11390,87 ± 769,80) pg/mL dan (8806,39 ± 236,72) pg/mL; serta Nd = (8369,53 ± 600,86) Itg/mL; (8387,88 f 244,48) pg/ml,; dan (7000,00 ± 332,20) pg/ml.

Kata Kunci : konsentrat torium, spektrograti emisi, logam tanah jarang

